# Text boxes

The GTG Laser Pointer is an under water scaling and rangefinding device. The 
pointer is equipped with a 660 nm/5 mW - 50 mW laser diode. Different types of 
laser provide good visibility within greater ranges. Two pointers mounted in parallel onto video- or photocameras, add scale to pictures in form of two red dots 
separated by a known distance.

| Product No. (GP No.) 210-001 to 210-004 | Price in DM | Time of delivery | For Hire |
| --- | --- | --- | --- |
| -001 Typ I u. II | 4.500,00/piece | 1 | no |
| -002 Typ II mit 20 mW | 4.800,00/piece | 1 | no |
| -003 Typ II mit 50 mW | 5.500,00/piece | 1 | no |
| -004 Typ I +/- Wavelen. 633 nm | 4.880,00/piece | 1 | no |
| The single price is reduced when larger lots are purchased |
| *This offer is based to our prevailing contract conditions |

Technical Data:

Operating depth		6000 m

Housing

Material	VA 1.4571
	Length	222 mm without contact
	Outer diameter	30 mm
	Weight	1200 g

Laser

Type I	Laser Diode Class III-A
	Wavelength	660 nm
	Power	5 mW

Type II	Diode Class III-B
	Wavelength	660 nm
	Power	10 mW*, 20 mW*, 50 mW*

Electrical connection
	Power supply	6 - 26 V AC/DC
	Connector	IO 26-5FBRA
	Current	44 mA/24V

* 	Der Kauf von Laserpointern mit einer Leistung von mehr als 5 mW ist laut § 5 der 
	Unfallverhütungsvorschriften VBG 93 meldepflichtig.